## Bidbook
Bidbook
| Single dwellings |  |  |  | Block of houses |  |  |  | Yes
[8 empty] | Select size of the block in the tab "Cost price per dwelling" | No
|  | semi-detached | terraced | apartment (without roof) |  | Number of houses in the block | - of which semi-detached | - of which terraced
[6 empty] | 6 | 2 | 4
| Base price | 61321.4058 | 54153.1236 | 45144.7757 |  | 55750.551 | Average base price per dwelling
| Extra costs | 3800 | 3800 | 3800 |  | 3800 | Extra costs per dwelling
| Final price | 65121.4058 | 57953.1236 | 48944.7757 |  | 59550.551 | Average final price per dwelling
[6 empty] | 357303.3058 | Total price per block
| Include in calculations | # of units | Price per unit | Description |  |  | Total price
| Yes | 1 | 1500 | Floorinsulation ground floor RC 3.5 m2K/W |  |  | 1500
| Yes | 1 | 500 | Safety glass according to NEN 3569 (base price +20 euro/m2 glass surface) |  |  | 500
| Yes | 1 | 25 | Mailbox outside |  |  | 25
| No | 1 | 2250 | Vacuum glass (base price +90 euro/m2 glass) |  |  | 0
| Yes | 1 | 400 | Sun screens (in general downstairs, kitchen/living room) |  |  | 400
| Yes | 1 | 400 | Induction cooking stove |  |  | 400
| No | 1 | -500 | 2 decentral ventilation units (CO2 controlled) with WTW |  |  | 0
| No | 1 | 2800 | Radiators (slightly larger size for optical reasons) |  |  | 0
| Yes | 1 | 75 | Ventilator 50m3/h (if not available) |  |  | 75
| No | 1 | 75 | Ventilator 25m3/h (if not available) |  |  | 0
| No | 1 | 100 | General costs for removing "self added issues" by renters |  |  | 0
| Yes | 1 | 150 | Changing/replacing outside watertap |  |  | 150
| Yes | 1 | 250 | Changing/replacing outside water well |  |  | 250
| Yes | 1 | 250 | New garden walls/fences |  |  | 250
| No | 1 | 500 | Extra work on sewer, cables/glass fiber etc. |  |  | 0
| Yes | 1 | 150 | Cookware set |  |  | 150
| No | 1 | -100 | No air conditioning necessary |  |  | 0
| Yes | 1 | 100 | Plant and animal life - exclusion flaps, mitigating measures |  |  | 100
|  |  |  | Total cost for extra options |  |  | 3800

## Cost price per dwelling
Cost price calculation per type of residential unit
Semi-detached house | Cost price | Percentage | Cost group | Terraced house | Cost price | Percentage | Cost group | Apartment | Cost price | Percentage | Cost group
Estimated yearly units |  |  |  | Estimated yearly units |  |  |  | Estimated yearly units
4500 |  |  |  | 6000 |  |  |  | 4500
| 570 | 1.022% | Engineering costs |  | 570 | 1.158% | Engineering costs |  | 570 | 1.389% | Engineering costs
| 29231.8 | 52.44% | Material costs |  | 26662.8 | 54.16% | Material costs |  | 20955.6 | 51.06% | Material costs
| 556.192 | 0.9977% | Manufacturing costs |  | 406.9142 | 0.8266% | Manufacturing costs |  | 300.8957 | 0.7332% | Manufacturing costs
| 475.5 | 0.853% | Outbound logistics costs |  | 475.5 | 0.9659% | Outbound logistics costs |  | 475.5 | 1.159% | Outbound logistics costs
| 9783.3478 | 17.55% | On-site mounting costs |  | 8977.7353 | 18.24% | On-site mounting costs |  | 8977.7353 | 21.88% | On-site mounting costs
| 1000 | 1.794% | Sales costs |  | 1000 | 2.031% | Sales costs |  | 1000 | 2.437% | Sales costs
| 5524.451 | 9.91% | Inventory costs |  | 4878.6598 | 9.91% | Inventory costs |  | 4067.0969 | 9.91% | Inventory costs
| 3317.4211 | 5.951% | Fixed costs (incl. labour costs) |  | 2412.6699 | 4.901% | Fixed costs (incl. labour costs) |  | 1809.5024 | 4.409% | Fixed costs (incl. labour costs)
| 5288.0206 | 9.486% | Capital costs |  | 3845.8332 | 7.812% | Capital costs |  | 2884.3749 | 7.028% | Capital costs
| 55746.7325 | 100% | Total cost price |  | 49230.1123 | 100% | Total cost price |  | 41040.7051 | 100% | Total cost price
|  | 10 | % Margin |  |  | 10 | % Margin |  |  | 10 | % Margin
| 61321.4058 |  | Sales price |  | 54153.1236 |  | Sales price |  | 45144.7757 |  | Sales price
N.B.: This single apartment price is without roof
|  |  |  | Block of houses | Cost price | Percentage | Cost group | Apartment block | Cost price | Percentage | Cost group
|  |  |  | Number of houses in the block |  |  |  | Number of apartments per level
|  |  |  | 6 |  |  |  | 6
[5 empty] | # semi-detached | # terraced |  | Number of levels
[5 empty] | 2 | 4 |  | 4
[9 empty] | 13680 | 1.126% | Engineering costs
[5 empty] | 3420 | 1.1247 | Engineering costs |  | 529934.4 | 62.48% | Material costs
[5 empty] | 165114.8 | 54.2973 | Material costs |  | 7221.4959 | 1.087% | Manufacturing costs
[5 empty] | 2740.041 | 0.90105 | Manufacturing costs |  | 11412 | 0.9396% | Outbound logistics costs
[5 empty] | 2853 | 0.9382 | Outbound logistics costs |  | 215465.6463 | 19.23% | On-site mounting costs
[5 empty] | 51157.6366 | 16.823 | On-site mounting costs |  | 24000 | 1.976% | Sales costs
[5 empty] | 6000 | 1.9731 | Sales costs |  | 97610.3257 | 0% | Inventory costs
[5 empty] | 30563.5411 | 10.0507 | Inventory costs |  | 43428.0578 | 5.742% | Fixed costs (incl. labour costs)
[5 empty] | 16285.5217 | 5.3554 | Fixed costs (incl. labour costs) |  | 69224.9976 | 7.415% | Capital costs
[5 empty] | 25959.3741 | 8.5366 | Capital costs
[9 empty] | 1011976.9233 | 100% | Total cost price
[5 empty] | 304093.9144 | 100% | Total cost price
[10 empty] | 10 | % Margin
[6 empty] | 10 | % Margin
[9 empty] | 1113174.6156 |  | Sales price apartment block
[5 empty] | 334503.3058 |  | Sales price |  | 46382.2757 |  | Per apartment sales price
[5 empty] | 55750.551 |  | Per house average sales price |  | N.B.: This apartment block price is including the roof

## Key numbers factory
This page is meant to fill in some key numbers about the factory
Staff |  |  |  |  | Total production numbers
taken from document with estimation of # of employees
Production
[6 empty] | Number of residential units | 15000 | per year |  | Division over different types (estimation)
| Production floor staff | 181 | employees |  |  | Number of semi-detached houses | 4500 | per year |  | 30 | %
| Production management | 28 | employees |  |  | Number of terraced houses | 6000 | per year |  | 40 | %
[6 empty] | Number of apartments | 4500 | per year |  | 30 | %
Logistics
Number of elements per archetype dwelling
| Logistics floor staff | 45 | employees |  |  |  | Facade | Roof
[6 empty] | semi-detached | 7 | 4
| Office |  |  |  |  | terraced | 4 | 4
[6 empty] | apartment | 4 | 2
| Office staff | 150 | employees
| Research & Development | 10 | employees |  |  | Total elements produced
[7 empty] | Facade | Roof
| On-site mounting |  |  |  |  | semi-detached | 31500 | 18000
[6 empty] | terraced | 24000 | 24000
| On-site mounting staff | 25 | employees |  |  | apartment | 18000 | 9000
| On-site mounting external staff | 1100 | employees
[6 empty] | Grand total | 73500 | 51000 |  | All elements | 124500
| Total number of employees: | 439
Production
[6 empty] | Number of working days per year | 220
[6 empty] | Number of shifts per day | 3 |  | Effective work hours per shift |  |  | 7.5 | h
[9 empty] | Production efficiency |  |  | 80 | %
[7 empty] | Facade | Roof
[6 empty] | Production capacity needed per day | 334.0909 | 231.8182 | elements
[6 empty] | Production capacity needed per hour | 18.5606 | 12.8788 | elements
[6 empty] | Number of production lines | 2 | 1
[6 empty] | Production needed per hour per line | 9.2803 | 12.8788 | elements
[6 empty] | Takt time required per element per line | 6.4653 | 4.6588 | minutes

## Engineering
Engineering | Costs
Measure software (dataset pointcloud) (2 hours) | 150
Configuration - choice by customer (needs to be devoloped) | 0 | estimated cost development configurator €250.000
Data processing (materials, costs, measurements) (6 hours x €70) | 420
570

## Materials
Material costs
|  | Type of dwelling |  |  |  |  | Insulation material
|  | Semi-detached | Terraced | Apartment
| Material cost of facade panels | 12981.8 | 10412.8 | 9205.6 |  |  |  | Dimension material (m3) | Price per m3
| Material cost of roof panels | 4500 | 4500 | 4500 |  |  | EPS | 0.12 | 250
| Cost of installations (skid) | 11750 | 11750 | 11750 |  |  | High density EPS | 0.043 | 800
| Total material costs | 29231.8 | 26662.8 | 20955.6
| Bill of materials | Price per unit | Quantity of units needed |  |  |  | Price of materials per dwelling
| Product/item | in € | Semi-detached house | Terraced house | Apartment |  | Semi-detached house | Terraced house | Apartment
| Insulation (EPS) | 30 | 11 | 8 | 5 |  | 330 | 240 | 150
| Outer plate (HD-EPS) | 34.4 | 19 | 13 | 9 |  | 653.6 | 447.2 | 309.6
| Glue plates | 0.44 | 170 | 110 | 125 |  | 74.8 | 48.4 | 55
| Glue sides (25% of other glue needed) | 0.8 | 42.5 | 27.5 | 31.25 |  | 34 | 22 | 25
| Fixating blocks (HD-EPS) | 15 | 44 | 36 | 24 |  | 660 | 540 | 360
| Barrier spray (5% of glue) | 2.4 | 8.5 | 5.5 | 6.25 |  | 20.4 | 13.2 | 15
| Screws | 0.2 | 220 | 180 | 120 |  | 44 | 36 | 24
| Door with hinges | 750 | 2 | 2 | 2 |  | 1500 | 1500 | 1500
| Hingepin door | 2 | 6 | 6 | 6 |  | 12 | 12 | 12
| Decoration panel | 16 | 170 | 110 | 125 |  | 2720 | 1760 | 2000
| Habs bird bads | 15 | 1 | 1 | 1 |  | 15 | 15 | 15
| Corner strip (5% of decoration) | 48 | 8.5 | 5.5 | 6.25 |  | 408 | 264 | 300
| Window + glass standard (per m2) | 250 | 24.6 | 21.1 | 16.8 | m2 | 6150 | 5275 | 4200
| Schöck anchors | 10 | 36 | 24 | 24 |  | 360 | 240 | 240
| Roof total (PV connectors, Gutter, roofridge cap) | 4500 | 1 | 1 | 1 |  | 4500 | 4500 | 4500
| Skid (ventilation, heat pump, expansion, monitoring, PV panels, WTW) | 11750 | 1 | 1 |  |  | 11750 | 11750 | 11750
| Apartment skid (ventilation, heat pump, expansion, monitoring, PV panels, WTW) | 11750 |  |  | 1
Note on F10: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Must be developed further!

## Manufacturing costs
Manufacturing costs
|  |  | semi-detached | terraced | apartment
|  | Energy costs | 141.012 | 102.5542 | 76.9157
|  | Waste costs | 85.18 | 64.36 | 43.98
|  | Other production costs | 0 | 0 | 0
|  | Rework | 330 | 240 | 180
|  | Total manufacturing costs per dwelling | 556.192 | 406.9142 | 300.8957
| Energy |  | Waste |  |  |  | Rework
(Estimations by Strathclyde university)
|  |  | 5 | % average offcut (HD) EPS |  |  | 80 | % production efficiency
| Yearly energy costs | [5 empty] | 20 | % rework required
| 1596000 | Water | semi detached | terraced | apartment |  | 24900 | # of panels yearly requiring rework
| 242400 | Gas | 16.5 | 12 | 7.5 | EPS
| 207600 | Electricity | 65.68 | 49.36 | 33.48 | HD-EPS | Per element requiring rework
|  |  | 0 | 0 | 0 | Other waste | 100 | Average material cost rework
| Energy costs per element |  | 3 | 3 | 3 | Waste collection & removal | 50 | Average other cost rework
12.8193
|  |  | 85.18 | 64.36 | 43.98 | Total waste per dwelling | semi-detached | terraced | apartment
[7 empty] | 9900 | 9600 | 5400 | # of panels yearly requiring rework
[7 empty] | 11 | 8 | 6 | # of panels per archetype dwelling
[7 empty] | 16335000 | 11520000 | 4860000 | Yearly total cost of rework per dwelling type
Other manufacturing costs
[7 empty] | 330 | 240 | 180 | Average costs of rework per dwelling
| 0 | per dwelling

## Outbound Logistics
Outbound logistics
Assuming that one house/apartment always fits on one truck
At factory
| Loading time | 1 | hours | 55 | cost per waiting hour | 55 | Total loading cost
Transport to construction site
| Maximum distance | 150 | km | 2.76 | cost per km | 414 | Transportation cost
| Average distance | 75 | km |  |  | 207 | Transportation cost
Unloading at the construction site
| Unloading time | 2 | hours |  |  | 110 | Total unloading cost
Return trip
| Maximum distance | 150 | km | 50 | cost reduction % return trip | 207 | Transportation cost
| Average distance | 75 | km |  |  | 103.5 | Transportation cost
| Worst case (maximum distance) |  |  |  |  | 786 | Total outbound logistics cost
| Expected average costs (based on average distance) |  |  |  |  | 475.5 | Total outbound logistics cost

## Mounting
On-site mounting - total costs
Type of dwelling
|  | semi-detached | terraced | apartment
| Labour costs | 4747.5 | 4050 | 4050
| Material costs | 3572.931 | 3572.931 | 3572.931
| Waste & recycling | 150 | 150 | 150
| 10% surcharge overhead costs | 847.0431 | 777.2931 | 777.2931
| 5% margin contractors | 465.8737 | 427.5112 | 427.5112
| Total cost on-site mounting | 9783.3478 | 8977.7353 | 8977.7353
Labour costs
|  |  |  | Semi-detached | Terraced
| Preparation |  | Employees | Total hours | Total hours | Available hours (based on the team size) | Salary | Actual hours |  | Hourly wage
| Day 0: Prepare building sites |  |  |  |  | 16 |  | 7 |  | 45 | €
|  | Indoor team | 2 | 1.5 |  |  | 67.5
|  | Outdoor team | 1 | 5.5 |  |  | 247.5
|  | Sand excavator company | 1 | 2 |  |  | 90 |  | (External)
|  | Installation company | 1 | 3.5 |  |  | 157.5 |  | (External)
|  | Slack time |  | 9 |  | 0.7 | 405
|  | Total day 0 | 5 | 21.5 |  |  | 967.5
| Day 1: Preparation of the terrain/building/new facade |  |  |  |  | 32 |  | 24.5
|  | Outdoor team | 3 | 19 |  |  | 855
|  | Indoor team | 1 | 5.5 |  |  | 247.5
|  | Slack time |  | 7.5 |  | 2.45 | 337.5
| Main phase | Total day 1 | 4 | 32 |  |  | 1440
| Day 2: Removing excisting components |  |  |  |  | 32 |  | 30.25
|  | Outdoor team | 3 | 23 |  |  | 1035
|  | Indoor team | 1 | 7.25 |  |  | 326.25
|  | Slack time |  | 1.75 |  | 3.025 | 78.75
| Completion | Total day 2 | 8 | 32 |  |  | 1440
| Day 3: Finishing the inside of the house/installations/outside |  |  |  |  | 20 |  | 15
|  | Outdoor team | 2 | 13 |  |  | 585
|  | Indoor team | 0.5 | 2 |  |  | 90
|  | Slack time |  | 5 |  | 1.5 | 225
|  | Total day 3 | 2.5 | 20 |  |  | 900
| Total hours |  |  | 105.5 | 90
| Total labour costs |  |  | 4747.5 | 4050
| Equipments | Method | Lifetime | Maintenance costs | Amount | Unit | Purchase/hire costs monthly | Total costs | New vs old extra costs | Discount | Per dwelling
| Fences | Hire | [8 empty] | 54
| Van with closed trailer + small tools | Lease | 4 jaar | Fuel costs | 12 | Month | 2085 | 100000 |  |  | 300
| Containers from local companies (Renting) (6m3) | Hire |  |  | 12 | Month | 1200 | 14400 |  |  | 300
| Dixi | Hire |  |  | 12 | Month |  | 50 |  |  | 10
| Site trailer | Hire | [5 empty] | 78 | 177 |  | 78
| Sandsuction machine | Outsourced |  |  | 0.25 | Per day | 1286.25 | 321.5625 | 248.8 |  | 321.5625
| Triangle scaffold | Buy | 8 jaar | Per 4 jaar | 2 | per unit | 7529 | 15058 | -885 |  | 72.39
| Vacuum suction machine | Buy (/hire) | 10 jaar | Yearly | 1 | per unit |  | 0 |  |  | 60
| Crane | Buy/lease | 20 jaar | Yearly | 1 | per unit |  | 0 |  |  | 1560
| Chimney gripper | Buy | 20 jaar | Yearly | 1 | per unit | 3565.5 | 3565.5 |  |  | 13.7135
| Subtotal Equipment costs | [9 empty] | 2759.666
| Small tools | Method | Lifetime | Maintenance costs | Amount | Unit | Purchase cost | Total Purchase cost | Extra costs | Discount | Per house
| Toolbox | Buy | 2 jaar |  | 3 | per unit |  |  |  |  | Accounted for
| Sawzall | Buy | 5 jaar |  | 1 | per unit |  |  |  |  | Accounted for
| Grinder | Buy | 5 jaar |  | 1 | per unit |  |  |  |  | Accounted for
| Drilling machine | Buy | 5 jaar |  | 1 | per unit |  |  |  |  | Accounted for
| Blower pump | Buy | 5 jaar |  | 1 | per unit |  |  |  |  | Accounted for
| Small Drilling machine | Buy | 5 jaar |  | 1 | per unit |  |  |  |  | Accounted for
| Circular saw | Buy | 5 jaar |  | 1 | per unit |  |  |  |  | Accounted for
| Accu's 18V - 5A | Buy | 3 jaar |  | 6 | per unit |  |  |  |  | Accounted for
| Subtotal Small Tools | [9 empty] | 15
| Consumables (per dwelling) | Method | Lifetime | Maintenance costs | Amount | Unit |  | Purchase cost | Extra costs | Discount | Per house
| Lid (ventilation) | Buy | - |  | 2 | Unit |  | 3.09 |  |  | 6.18
| Prefab fusebox | Buy | - |  | 1 | Per unit |  | 300 |  |  | 300
| Glue | Buy | - |  | 1 | Per unit |  | 20.59 |  |  | 20.59
| Entrance mat | Buy | - |  | 1 | Per unit |  | 6.95 |  |  | 6.95
| Water stopper for closing off | Buy | - |  | 1 | Per unit |  | 10.99 |  |  | 10.99
| Concrete drills | Buy | - |  | 1 | Per unit |  | 6.36 |  |  | 6.36
| Aluminium Strip | Buy | - |  | 1 | Per unit |  | 28.86 |  |  | 28.86
| EPDM | Buy |  |  | 1 | Per unit |  | 112 |  |  | 112
| Compriband | Buy | - |  | 1 | Per unit |  | 6.46 |  |  | 6.46
| Flexfoam | Buy | - |  | 1 | Per unit |  | 5.59 |  |  | 5.59
| Screws | Buy | - |  | 1 | Per unit |  | 4.975 |  |  | 4.975
| Rockwool | Buy | - |  | 1 | Per unit |  | 16.79 |  |  | 16.79
| Mounting brackets | Buy | - |  | 1 | Per unit |  | 8.08 |  |  | 8.08
| Water drainage connector | Buy | - |  | 1 | Per unit |  | 17.49 |  |  | 17.49
| connection material tubes cables etc. (SKID) | Buy |  |  | 1 | Per unit |  | 250 |  |  | 250
| PVC Glue | Buy | - |  | 1 | Per unit |  | 11.95 |  |  | 11.95
| Subtotal consumables | [9 empty] | 813.265
Waste & recycling
| Waste & recycling | [9 empty] | 150
| Subtotal waste & recycling | [9 empty] | 150
Efficiency gains at larger numbers
| Maximal efficiency gain | 20 | hours per dwelling
Note on F6: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Needs to be developed further: for now similar to houses

## Selling costs
Selling | Costs
Pre- sales & marketing | 250
After sales | 250
Input from engineering (preselection of renovation package possibilities) | 250
Digital configurator (purchaseorder from customer) | 250
1000

## Fixed costs
Fixed costs
Equipment
|  | Quantity |  | Average cost € per unit | Recurring expenses every |  | Remaining value after use
| Fleet (van) | 10 |  | 50000 | 5 | years | 20 | % | 500000 | Total costs in €
| Furniture | 414 |  | 1500 | 10 | years | 20 | % | 621000 | Total costs in €
| Phones | 439 |  | 250 | 3 | years | 10 | % | 109750 | Total costs in €
| Hardware/laptops | 233 |  | 1500 | 3 | years | 10 | % | 349500 | Total costs in €
| Investment equipment | [7 empty] | 1580250 | Total costs in €
| Subtotal yearly equipment cost | [7 empty] | 267455 | Total yearly costs in €
Fixed operational costs
| Subscriptions internet/telephone | [7 empty] | 300000 | Total yearly costs in €
| Insurances | [7 empty] | 3000000 | Total yearly costs in €
| Software licences | [7 empty] | 410000 | Total yearly costs in €
| Employee training & development | 8 | % of labour costs | [5 empty] | 1760720 | Total yearly costs in €
| Marketing budget | [7 empty] | 1800000 | Total yearly costs in €
| Product development budget | [7 empty] | 5000000 | Total yearly costs in €
| Maintenance & cleaning | [7 empty] | 2000000 | Total yearly costs in €
| Other costs (eg. fuel) | [7 empty] | 1000000 | Total yearly costs in €
| Subtotal yearly fixed operational costs | [7 empty] | 15270720 | Total yearly costs in €
Fixed staff costs
|  | # of employees |  | Average monthly labour costs € per employee | # of months payment per year |  | Average yearly labour cost per employee
| Production floor staff | 181 |  | 3000 | 13 |  | 39000 |  | 7059000 | Total yearly costs in €
| Production management staff | 28 |  | 5000 | 13 |  | 65000 |  | 1820000 | Total yearly costs in €
| Logistics floor staff | 45 |  | 3000 | 13 |  | 39000 |  | 1755000 | Total yearly costs in €
| Management & Office staff | 150 |  | 5000 | 13 |  | 65000 |  | 9750000 | Total yearly costs in €
| Research & Development | 10 |  | 5000 | 13 |  | 65000 |  | 650000 | Total yearly costs in €
| On-site mounting employed staff | 25 |  | 3000 | 13 |  | 39000 |  | 975000 | Total yearly costs in €
| Subtotal yearly fixed staff costs | 439 | [6 empty] | 22009000 | Total yearly costs in €
| Total yearly fixed costs | [7 empty] | 37547175 | Total yearly costs in €
| Fixed costs per element | 124500 | Elements produced | [5 empty] | 301.5837 | Cost per element

## Inventory costs
Inventory costs
| Estimation inventory costs |  |  | 11 | % | of the cost price
| Inventory costs is a rather low percentage, but assumed realistic because: | [5 empty] | Warehouse times
| - Salaries already accounted for | [5 empty] | - 5 days for raw materials
| - Warehouse costs/handling already accounted for | [5 empty] | - 14 days for endproduct
Inventory cost per element
|  | semi-detached | terraced | apartment
|  | 5524.451 | 4878.6598 | 4067.0969

## Capital costs
Capital costs | [9 empty] | Space calculator |  |  |  |  | Yes | 0. None
[15 empty] | No | 1. BREEAM Excellent = Price +12% |  | BOUW/ productie |  | BOUW/ Kantoor |  | BOUW/Rework
Scenario 1: Full ownership of the factory | [10 empty] | Production |  |  |  |  | 2. BREEAM Outstanding = Price +25% |  | 56000 | M2 | 2250 | M2 | 7000 | M2
Land & Buildings | [10 empty] | 28050 | m2 | [5 empty] | 325 | PER M2 | 875 | PER M2 | 325 | PER M2
Land surface needed | 310000 | m2 | 58 | price in € per m2 |  |  | 17980000 | Total cost | [9 empty] | 18200000 | TOTAAL € | 1968750 | TOTAAL | 2275000 | TOTAAL
Garden & landscaping | 138620 | m2 | 75 | price in € per m2 |  |  | 10396500 | Total cost |  |  | 3 | # of units
[11 empty] | 84150 | total m2
Production | 84150 | m2 | 325 | price in € per m2 |  |  | 27348750 | Total cost
Rework | 7000 | m2 | 325 | price in € per m2 |  |  | 2275000 | Total cost |  |  | Rework | [9 empty] | oppervlakte | 425 | lengte
Warehouse (on top of production) | 45000 | m2 | 325 | price in € per m2 |  |  | 14625000 | Total cost |  |  | 175 | m length | [7 empty] | prod. | 28000 | 466 | breedte
Logistics | 67200 | m2 | 325 | price in € per m2 |  |  | 21840000 | Total cost |  |  | 40 | m width | [7 empty] | opslag | 28000 | 485 | tussenruimte
Office | 4813 | m2 | 875 | price in € per m2 |  |  | 4211375 | Total cost |  |  | 1 | # of units | [7 empty] | logistiek
Other built areas | 8217 | m2 | 875 | price in € per m2 |  |  | 7189875 | Total cost |  |  | 7000 | total m2 | [8 empty] | 33600 | 84 | lengte
Parking garage | 9000 | m2 | 400 | price in € per m2 |  |  | 3600000 | Total cost | [13 empty] | 400 | breedte
[11 empty] | Warehouse | [8 empty] | landschap | 241400
Subtotal land & garden/park | [6 empty] | 28376500 |  |  |  | 15000 | m2 | [7 empty] | rework | 7000 | 40 | lengte
Subtotal buildings | [6 empty] | 81090000 | [14 empty] | 175 | breedte
[11 empty] | 3 | # of units | [8 empty] | 310000
Total investment land & buildings | [6 empty] | 109466500 |  |  |  | 45000 | total m2
| Include in calculation |  | Depreciation in |  | Remaining value after use
Depreciation of the land | No |  | 30 | years | 0 | % |  | per year |  |  | Logistics
Depreciation of garden/park | Yes |  | 30 | years | 10 | % | 419895 | per year |  |  | 400 | m length
Depreciation of buildings | Yes |  | 20 | years | 20 | % | 3243600 | per year |  |  | 84 | m width
[11 empty] | 2 | # of units
Total depreciation per year | [6 empty] | 3663495 |  |  |  | 67200 | total m2
Office
[11 empty] | 50 | m length
[11 empty] | 50 | m width
Scenario 2: Rent of the factory | [10 empty] | 1 | # of units
Land & Buildings | [10 empty] | 2500 | total m2
Land surface needed | 310000 | m2
Garden & landscaping | 146837 |  | 12 | rent in € per m2 |  |  | 1762044 | Cost per year
Transport system
Production | 84150 | m2 | 100 | rent in € per m2 |  |  | 8415000 | Cost per year |  |  | Type | Width(m) | Length(m) | Height(m) | Payload(Kg) (without integrated conveyor) | Unit/Production line | Unit factory | Cost/Unit | Cost/m | Conveyor SubTotal | Transfer SubTotal | Conveyor | W | L | Cost | Cost Cross transfer
Rework | 7000 | m2 | 100 | rent in € per m2 |  |  | 700000 | Cost per year |  | Good receipt | [12 empty] | 3,2 | 12 | 82500 |  |  |  |  | Power usage
Warehouse (on top of production) | 45000 | m2 | 12 | rent in € per m2 |  |  | 540000 | Cost per year |  | Conveyor | Roller | 2.6 | 15.4 | 0.5 |  | 3 | 6 |  | 0 | 0 | 0 |  |  | Width | Cost/m | #REF!
Logistics | 67200 | m2 | 12 | rent in € per m2 |  |  | 806400 | Cost per year |  | Conveyor | Roller | 2.6 | 19 | 0.5 |  | 5 | 10 |  | 0 | 0 | 0 |  | Roller | 1.2 | 1500 | #REF! | 2000
Office | 4813 | m2 | 250 | rent in € per m2 |  |  | 1203250 | Cost per year |  | Conveyor | Roller | 2.6 | 32 | 0.5 |  | 2 | 4 |  | 0 | 0 | 0 |  | Roller | 2.4 | 3000 | #REF!
Other built areas | 8217 | m2 | 250 | rent in € per m2 |  |  | 2054250 | Cost per year |  | Conveyor | Roller | 2.6 | 0.8 | 0.5 |  | 1 | 2 |  | 0 | 0 | 0 |  | Roller | 3.2 | 4000 | #REF!
Parking garage | 9000 | m2 | 12 | rent in € per m2 |  |  | 108000 | Cost per year |  | Conveyor | Roller | 2.6 | 26 | 0.5 |  | 1 | 2 |  | 0 | 0 | 0 |  | Chain | 6 | 7500
[10 empty] | Conveyor | Roller | 2.6 | 28 | 0.5 |  | 1 | 2 |  | 0 | 0 | 0 |  | Chain | 12 | 15000
Subtotal land & garden/park | [6 empty] | 1762044 |  |  | Conveyor | Roller | 6 | 48 | 0.5 |  | 1 | 2 |  | 0 | 0 | 0 |  | Chain | 14 | 17500
Subtotal buildings | [6 empty] | 13826900 |  |  | Conveyor | Roller | 6 | 36 | 0.5 |  | 1 | 2 |  | 0 | 0 | 0
[10 empty] | Conveyor | Roller | 6 | 0.8 | 0.5 |  | 2 | 4 |  | 0 | 0 | 0 | Rail system |  | L | Cost
Total rent costs per year | [6 empty] | 15588944 |  |  | Conveyor | Roller | 6 | 4.1 | 0.5 |  | 1 | 2 |  | 0 | 0 | 0 |  |  | 16 | 4000
[10 empty] | Cross transfer ( lift table) | Roller Chain | 2.6 | 2.6 | 0.5 |  | 4 | 8 |  | #REF! | #REF! | 0 |  |  | 50 | 7000
[10 empty] | Cross transfer ( lift table) | Roller Chain | 2.6 | 6 | 0.5 |  | 4 | 8 |  | #REF! | #REF! | 0 |  |  |  | Cost/m
[10 empty] | Lift | Lift with Roller chain conveyor | 2 | 2 | 1 | 1500 | 3 | 6 | 49869.898 |  |  | 299219.3878
Machinery & Equipment | [19 empty] | 0 | 0 |  |  |  | 195
Factory Equipment & Machinery costs | 122944500 | [8 empty] | Warehouse | [10 empty] | 0
Factory Transport system | 41387197.9408 | [8 empty] | Conveyor | Roller | 3 | 3.3 | 1 |  | 8 | 24 |  | 4000 | 316800 | 0 | Overhead Crane & Gantry
Base Factory Installation costs | 42310656.25 | (Including engineering) |  |  |  |  | 42310656.25 |  |  | Conveyor | Roller | 2.6 | 15 | 1 |  | 2 | 6 |  | 4000 | 360000 | 0
Additional environmental standard | 2. BREEAM Outstanding = Price +25% | [5 empty] | 10577664.0625 |  |  | Conveyor | Roller | 2.6 | 13.2 | 1 |  | 1 | 3 |  | 4000 | 158400 | 0
Sprinkler system | 1000000 | central unit | 50 | per m2 pipes etc. | 225380 | total m2 | 12269000 |  |  | Conveyor | Roller | 6 | 9 | 1 |  | 1 | 3 |  | 7500 | 202500 | 0
Subtotal factory installation costs | [6 empty] | 65157320.3125 |  |  | Conveyor | Roller | 6 | 1.6 | 1 |  | 1 | 3 |  | 7500 | 36000 | 0 |  | Lift table
[10 empty] | Conveyor | Roller | 1.2 | 6 | 5 |  | 1 | 3 |  | 1500 | 27000 | 0
Data integration costs | 900000 | (ERP system implementation etc.) | [7 empty] | Conveyor | Roller | 6 | 5.35 | 5 |  | 1 | 3 |  | 7500 | 120375 | 0
Setup costs digital configurator | 250000 | [8 empty] | Conveyor | Roller | 6 | 11 | 5 |  | 1 | 3 |  | 7500 | 247500 | 0
[10 empty] | Conveyor | Roller | 1.2 | 49 | 5 |  | 1 | 3 |  | 1500 | 220500 | 0
Subtotal investment machinery & equipment | [6 empty] | 230639018.2533 |  |  | Conveyor | Roller | 1.2 | 4 | 1 |  | 1 | 3 |  | 1500 | 18000 | 0
[5 empty] | Remaining value |  |  |  |  | Conveyor | Roller | 1.2 | 96 | 1 |  | 1 | 3 |  | 1500 | 432000 | 0
Depreciation of the machinery? | Yes | Yes/No | 10 | # of years | 20 | % | 9835560 | Cost per year |  | Conveyor | Roller | 4 | 1 | 1 |  | 2 | 6 |  | 4000 | 24000 | 0
Depreciation of the transport system? | Yes | Yes/No | 10 | # of years | 20 | % | 3310975.8353 | Cost per year |  | Conveyor | Roller | 6 | 12 | 1 |  | 1 | 3 |  | 7500 | 270000 | 0
Depreciation of factory installations? | Yes | Yes/No | 20 | # of years | 20 | % | 2606292.8125 | Cost per year |  | Conveyor | Roller | 1.2 | 41.5 | 1 |  | 1 | 3 |  | 1500 | 186750 | 0
Depreciation of data system? | No | Yes/No | 15 | # of years | 0 | % | 0 | Cost per year |  | Conveyor | Roller | 1.2 | 135 | 1 |  | 1 | 3 |  | 1500 | 607500 | 0
[10 empty] | Cross transfer ( lift table) | Roller Chain | 3.5 | 4 | 1 |  | 2 | 6 |  | #REF! | #REF! | 0 |  | Lift Warehouse to Prod | L | W | H | Price | Cost/m2 | Cost with conveyor
[10 empty] | Cross transfer ( lift table) | Roller Chain | 6 | 1.2 | 1 |  | 2 | 6 |  | 0 | 0 | 0 |  |  | 2.8 | 2.8 | 2.4 | 86500 | 12467.4745 | 94900
[10 empty] | Lift |  | 2.6 | 3.2 | 2.4 | 1500 | 2 | 6 | 77797.0408 |  |  | 466782.2449 |  |  | 2 | 2 | 3 | 49869.898
Off-grid energy investments | [9 empty] | Lift |  | 4 | 1.2 | 2.4 | 1500 | 1 | 3 | 44882.9082 |  |  | 134648.7245
[10 empty] | Lift |  | 6 | 1.2 | 2.4 | 1500 | 2 | 6 | 67324.3622 |  |  | 403946.1735 |  |  | 8.4 | 3.2 | 1 | 335125.7143 |  | 368725.7143
Solar PV panels | 1200 | # of panels | 300 | price per panel |  |  | 360000 | Total |  | Panel sizing section | [9 empty] | 0 | 0 |  |  | 4 | 3.5 | 2.4 | 174544.6429 |  | 190544.6429
Other costs | [6 empty] | 0 | Total |  | Conveyor | Roller | 1.2 | 7 | 1 |  | 3 | 9 |  | 0 | 0 | 0 |  |  | 3 | 3.3 | 2.4 | 123427.9974 |  | 135427.9974
[10 empty] | Conveyor | Roller | 1.2 | 13 | 1 |  | 2 | 6 |  | 0 | 0 | 0 |  |  | 3 | 3 | 2.4 | 112207.2704 |  | 124207.2704
Subtotal investment off-grid energy | [6 empty] | 360000 |  |  | Conveyor | Roller | 1.2 | 7.2 | 1 |  | 1 | 3 |  | 0 | 0 | 0
[5 empty] | Remaining value |  |  |  |  | Conveyor | Roller | 1.2 | 1 | 1 |  | 2 | 6 |  | 0 | 0 | 0
Depreciation | Yes | Yes/No | 20 | # of years | 0 | % | 18000 | Cost per year |  | Conveyor | Roller | 1.2 | 10 | 1 |  | 1 | 3 |  | 0 | 0 | 0 |  | Lift warehouse | L | W | H | Price | Cost/m2
[10 empty] | Conveyor | Roller | 1.2 | 5.4 | 1 |  | 1 | 3 |  | 0 | 0 | 0 | [6 empty] | 9350.6059
Rental costs |  | per year |  |  |  |  | 0 | Cost per year |  | Conveyor | Roller | 1.2 | 6.4 | 1 |  | 2 | 6 |  | 0 | 0
[10 empty] | Conveyor | Roller | 1.2 | 8.6 | 1 |  | 2 | 6 |  | 0 | 0
[10 empty] | Conveyor | Roller | 3.2 | 16 | 1 |  | 1 | 3 |  | 0 | 0 | 0 |  |  | 2.6 | 3.2 |  | 77797.0408
[10 empty] | Conveyor | Roller | 3.2 | 2.9 | 1 |  | 1 | 3 |  | 0 | 0 | 0 |  |  | 4 | 1.2 |  | 44882.9082
[10 empty] | Conveyor | Roller | 3.2 | 2.3 | 1 |  | 1 | 3 |  | 0 | 0 | 0 |  |  | 6 | 1.2 |  | 67324.3622
Costs of financing | [9 empty] | Conveyor | Roller | 3.2 | 3.8 | 1 |  | 1 | 3 |  | 0 | 0 | 0
Scenario 1 - full ownership of the factory | [9 empty] | Cross transfer ( lift table) | Chain roller | 1.2 | 3.2 | 1 |  | 10 | 30 |  | #REF! | #REF! | 0
Loans for investment | 341000000 | € | 5 | Interest % |  |  | 42058152.4412 | Yearly costs |  | Turntable trolley | Chain | 1.2 | 3.2 | 1 |  | 1 | 3 | 50000 |  | 0 | 150000
Payback period (years) | 10 | [15 empty] | 0 |  |  | 0 | 0
Lift
Scenario 2 - Rent of the factory | [9 empty] | Lift | Lift with Roller chain conveyor | 3.2 | 8.4 | 2.4 | 1500 | 4 | 12 | 368725.7143 |  | 0 | 4424708.5714
Loans for investment | 231000000 | € | 5 | Interest % |  |  | 28491006.4924 | Yearly costs
Payback period (years) | 10
[10 empty] | Gluing | [6 empty] | 0 |  |  | 0 | 0
[10 empty] | Conveyor | Roller | 3.2 | 2.5 | 2 |  | 2 | 6 |  | 0 | 0 | 0
[10 empty] | Conveyor | Roller | 3.2 | 5.8 | 1 |  | 2 | 6 |  | 0 | 0 | 0
[10 empty] | Conveyor | Roller | 3.2 | 1.9 | 1 |  | 1 | 3 |  | 0 | 0 | 0
Total yearly capital costs | [9 empty] | Conveyor | Roller | 1.2 | 1 | 2 |  | 2 | 6 |  | 0 | 0 | 0
- Scenario 1 | Ownership of the factory | [8 empty] | Conveyor | Roller | 1.2 | 9.5 | 1 |  | 1 | 3 |  | 0 | 0 | 0
| Total investment | [5 empty] | 340465518.2533 |  |  | Conveyor | Roller | 1.2 | 5.6 | 2 |  | 1 | 3 |  | 0 | 0 | 0
| Yearly recurring capital costs |  | excluding financing |  |  |  | 19434323.6478 |  |  | Conveyor | Roller | 3.2 | 22 | 2 |  | 1 | 3 |  | 0 | 0 | 0
| Yearly recurring capital costs |  | including financing |  |  |  | 61492476.0889 |  |  | Conveyor | Roller | 3.2 | 11.8 | 2 |  | 1 | 3 |  | 0 | 0 | 0
[10 empty] | Conveyor | Roller | 3.2 | 12.2 | 1 |  | 1 | 3 |  | 0 | 0 | 0
- Scenario 2 | Rent of the factory | [8 empty] | Conveyor | Roller | 3.2 | 14 | 1 |  | 1 | 3 |  | 0 | 0 | 0
| Total investment | [5 empty] | 230999018.2533 |  |  | Conveyor | Roller | 14 | 9.6 | 2 |  | 1 | 3 |  | 0 | 0 | 0
| Yearly recurring capital costs |  | excluding financing |  |  |  | 31359772.6478 |  |  | Conveyor | Roller | 14 | 10 | 1 |  | 1 | 3 |  | 0 | 0 | 0
| Yearly recurring capital costs |  | including financing |  |  |  | 59850779.1402 |  |  | Conveyor | Roller | 3.2 | 1.2 | 1.13 |  | 1 | 3 |  | 0 | 0 | 0
[10 empty] | Conveyor | Roller | 14 | 4 | 1.13 |  | 2 | 6 |  | 0 | 0 | 0
[10 empty] | Conveyor | Roller | 3.2 | 26 | 1.13 |  | 3 | 9 |  | 0 | 0 | 0
Capital costs per element | [9 empty] | Cross transfer ( lift table) | Roller Chain | 1.2 | 3.2 | 1 |  | 3 | 9 | 0 | #REF! | #REF! | 0
[10 empty] | Cross transfer ( lift table) | Roller Chain | 1.2 | 3.2 | 2 |  | 3 | 9 | 0 | #REF! | #REF! | 0
Number of elements produced yearly | 124500 | [8 empty] | Cross transfer ( lift table) | Roller Chain | 3.2 | 14 | 1 |  | 1 | 3 | 0 | #REF! | #REF! | 0
[10 empty] | Cross transfer ( lift table) | Roller Chain | 3.2 | 14 | 2 |  | 1 | 3 | 0 | #REF! | #REF! | 0
- Scenario 1 | Ownership of the factory | [8 empty] | Cross transfer ( lift table) | Roller Chain | 3.2 | 14 | 1.13 |  | 1 | 3 | 0 | #REF! | #REF! | 0
| capital costs per element |  | excluding financing |  |  |  | 156.099 | [9 empty] | 0 |  |  | 0 | 0
| capital costs per element |  | including financing |  |  |  | 493.9155 |  |  | CNC cutting section | [6 empty] | 0 |  |  | 0 | 0
[10 empty] | Conveyor | Roller | 3.2 | 14 | 1.13 |  | 4 | 12 |  | 4000 | 672000 | 0
- Scenario 2 | Rent of the factory | [8 empty] | Horizontal cross transfer trolley |  | 3.2 | 14 | 1.13 |  | 2 | 6 | 80000 |  | 0 | 480000
| capital costs per element |  | excluding financing |  |  |  | 251.8857 |  |  | Horizontal cross transfer trolley |  | 3.2 | 14 | 1.13 |  | 2 | 6 | 80000 |  | 0 | 480000
| capital costs per element |  | including financing |  |  |  | 480.7291 | [9 empty] | 0 |  |  | 0 | 0
[10 empty] | Lift | [9 empty] | 0 | 0
[10 empty] | Lift | Lift with Roller chain conveyor | 3 | 3 | 2.4 | 1500 | 2 | 6 | 135427.9974 |  | 0 | 812567.9847
[10 empty] | Conveyor | Roller | 3 | 3.3 | 1 |  | 2 | 6 |  | 4000 | 24003.3
[10 empty] | Reinforcement and lifter section | [6 empty] | 0 |  |  | 0 | 0
[10 empty] | Conveyor | Roller | 12 | 11.5 | 1.13 |  | 1 | 3 |  | 15000 | 517500 | 0
[10 empty] | Conveyor | Roller | 3.2 | 12.5 | 1.13 |  | 3 | 9 |  | 0 | 0 | 0
[10 empty] | Cross transfer | Roller Chain | 3.2 | 12 | 1.13 |  | 2 | 6 | 0 | #REF! | #REF! | 0
[17 empty] | 0 |  |  | 0 | 0
[10 empty] | Mesh base coat section | [6 empty] | 0 |  |  | 0 | 0
[10 empty] | Horizontal cross transfer trolley |  | 3.2 | 12 |  |  | 1 | 3 | 80000 |  | 0 | 240000
[10 empty] | Conveyor | Roller | 3.2 | 12.5 |  |  | 4 | 12 |  | 4000 | 600000 | 0
[10 empty] | Stationary rack storage system |  | 3.2 | 14.6 |  |  | 40 | 120 |  | 5000 | 8760000 | 0
[10 empty] | Movable gantry conveyor |  | 3.2 | 13 |  |  | 2 | 6 | 300000 |  | 0 | 1800000
[17 empty] | 0 |  |  | 0 | 0
[10 empty] | Decoration section | [6 empty] | 0 |  |  | 0 | 0
[10 empty] | Horizontal cross transfer trolley |  | 3.2 | 12 |  |  | 1 | 3 | 80000 |  | 0 | 240000
[10 empty] | Vertical line |  |  | 50 |  |  | 3 | 9 |  | 195 | 87750 | 0
[10 empty] | Conveyor | Roller | 3.2 | 12.5 |  |  | 2 | 6 |  | 0 | 0 | 0
[10 empty] | Conveyor | Roller | 3.2 | 25.5 |  |  | 2 | 6 |  | 0 | 0 | 0
[10 empty] | Conveyor | Roller | 3.2 | 12 |  |  | 2 | 6 |  | 0 | 0 | 0
[10 empty] | Horizontal/vertical cross transfer trolley |  |  | 12 |  |  | 1 | 3 | 110000 |  | 0 | 330000
[10 empty] | Conveyor Tiles |  | 0.6 | 2.25 |  |  | 36 | 108 |  | #REF! | #REF! | 0
[10 empty] | Conveyor Cassette |  | 0.3 | 10 |  |  | 2 | 6 |  | #REF! | #REF!
Lift
[10 empty] | Lift | Lift with Roller chain conveyor | 3 | 3 | 2.4 | 1500 | 2 | 6 | 135427.9974 |  | 0 | 812567.9847
[10 empty] | Conveyor | Roller | 3 | 3.3 | 1 |  | 2 | 6 |  | 4000 | 24003.3
Aperture Lining Box section
[10 empty] | Window and door section | [6 empty] | 0 |  |  | 0 | 0
[10 empty] | Vertical cross transfer trolley |  |  | 12 |  |  | 1 | 3 | 126000 |  | 0 | 378000
[10 empty] | Vertical line |  |  | 49 |  |  | 2 | 6 |  | 195 | 57330 | 0
[10 empty] | Vertical cross transfer trolley |  |  | 12 |  |  | 1 | 3 | 126000 |  | 0 | 378000
[10 empty] | Vertical line (buffer) |  |  | 12.5 |  |  | 9 | 27 |  | 195 | 65812.5 | 0
Lift
[10 empty] | Lift | Lift with Roller chain conveyor | 3.5 | 7 | 2.4 | 1500 | 4 | 12 | 135427.9974 |  | 0 | 1625135.9694
[10 empty] | Conveyor | Roller | 3 | 3.3 | 1 |  | 4 | 12 |  | 4000 | 48003.3
[10 empty] | Bird and Bat Habs section | [6 empty] | 0 |  |  | 0 | 0
[10 empty] | Vertical cross transfer trolley |  |  | 12 |  |  | 1 | 3 | 126000 |  | 0 | 378000
[10 empty] | Vertical line |  |  | 16.5 |  |  | 2 | 6 |  | 195 | 19305 | 0
[17 empty] | 0 |  |  | 0 | 0
[10 empty] | Wiring section | [6 empty] | 0 |  |  | 0 | 0
[10 empty] | Vertical line |  |  | 16.5 |  |  | 3 | 9 |  | 195 | 28957.5 | 0
[10 empty] | Vertical cross transfer trolley |  |  | 12 |  |  | 1 | 3 | 126000 |  | 0 | 378000
[17 empty] | 0 |  |  | 0 | 0
[10 empty] | Quality check section | [6 empty] | 0 |  |  | 0 | 0
[10 empty] | Vertical line |  |  | 16.5 |  |  | 2 | 6 |  | 195 | 19305 | 0
[17 empty] | 0 |  |  | 0 | 0
[10 empty] | To Storage | [6 empty] | 0 |  |  | 0 | 0
[10 empty] | Horizontal/vertical cross transfer trolley |  |  | 12 |  |  | 2 | 6 | 80000 |  | 0 | 480000
Reworking area
[10 empty] | Horizontal/vertical cross transfer trolley |  |  | 12 |  |  | 2 | 2 | 80000
[10 empty] | Vertical line |  |  | 86.7 |  |  | 4 | 4 |  | 195 | 67626
[10 empty] | Vertical line |  |  | 24 |  |  | 5 | 5 |  | 195 | 23400
[10 empty] | Vertical line |  |  | 28 |  |  | 2 | 2 |  | 195 | 10920
[20 empty] | 26695620.9 | 14691577.0408
[20 empty] | Total Transport system | 41387197.9408
Factory installation costs
| Oppervlakte |  | Prijs per m2 tbv Elektrotechniek | Prijs per m2 tbv Werktuigkunde | Totaal m2 prijs | TOTAAL | Inhoud |  | Opmerking | Machine equipment
Productievloer 2m - peil | [9 empty] | Process | Machine | Name | Surface | Unit/Production line | Unit factory | Cost/Unit |  | Power usage
Productielijn 1 | 28050 | m2 | 80 | 100 | 180 | 5049000 | 336600 | m3 | Geen luchtbehandeling of minimaal |  | Good receipt
Productielijn 2 | 28050 | m2 | 80 | 100 | 180 | 5049000 | 336600 | m3 | Geen luchtbehandeling |  | Computer vision portal | Machine vision to check the overall state of the inbound develivery |  | 5 | 10 | 20000 | 200000
Productielijn 3 | 28050 | m2 | 80 | 100 | 180 | 5049000 | 336600 | m3 | Geen luchtbehandeling |  | Bar code reader | SICK - CLV490-1010 BARCODE READER |  | 5 | 10 | 5000 | 50000
Opslag gereed | 33600 | m2 | 40 | 40 | 80 | 2688000 | 336000 | m3 | Overdekt buitengebied |  | AGV Forklift | EK Robotics SMART MOVEL 16AC |  | 2 | 4 | 100000 | 400000
Opslag gereed | 33600 | m2 | 40 | 40 | 80 | 2688000 | 336000 | m3 | Overdekt buitengebied |  | AGV VNA | EK Robotics HEAVY MOVE 02 |  | 2 | 4 | 1268000 | 5072000
Rework area | 7000 | m2 | 80 | 100 | 180 | 1260000 | 84000 | m3 |  |  | Overhead travelling crane | ABUS Crane 5T |  | 2 | 4 | 100000 | 400000
Opslag ruw product 10m +peil | [16 empty] | 0
Opslag 1 | 15000 | m2 | 40 | 80 | 120 | 1800000 | 150000 | m3 | Geen luchtbehandeling |  | Warehouse | [5 empty] | 0
Opslag 2 | 15000 | m2 | 40 | 80 | 120 | 1800000 | 150000 | m3 | Geen luchtbehandeling |  | AGV Forklift | EK Robotics SMART MOVE L16 |  | 3 | 9 | 67500 | 607500
Opslag 3 | 15000 | m2 | 40 | 80 | 120 | 1800000 | 150000 | m3 | Geen luchtbehandeling |  | AGV Roller bed | AGV Roller bed 4mx1.2m |  | 3 | 9 | 100000 | 900000
Goederen ontvangst 1 | 4435 | m2 | 40 | 80 | 120 | 532200 | 44350 | m3 | Geen luchtbehandeling |  | Automated rack storage system | ASRS system 26m x 20m x 6 m |  | 4 | 12 | 2000000 | 24000000 | 25
Goederen ontvangst 2 | 435 | m2 | 40 | 80 | 120 | 52200 | 44350 | m3 | Geen luchtbehandeling |  | Portal block lifting systems | Robot with6m x 1.2m end effector capacity |  | 3 | 9 | 200000 | 1800000
Kantine productie 120 personen | 1248 | m2 | 175 | 350 | 525 | 655200 | 3744 | m3 | Inclusief 2 keukens |  | Portal block lifting systems | Robot with 4m x 1.2m end effector capacity |  | 1 | 3 | 200000 | 600000
Begane grond kantoor (4e verdieping) | [10 empty] | Portal block lifting systems | Robot with 3.2m x 1.2m end effector capacity |  | 4 | 12 | 200000 | 2400000
kantoor (volledig) | 7500 | m2 | 0 | 0 | 0 |  | 24375 | m3 | 1650 m2 tuin is exterieur | [7 empty] | 0
Tuin is exterieur | 1650 | m2 | 40 | 0 | 40 | 66000
Conferentiezaal | 1250 | m2 | 275 | 500 | 775 | 968750 | 4062.5 | m3 | 160 zitplaatsen |  | Panel sizing section | [5 empty] | 0
Kantine met 2 keukens | 750 | m2 | 275 | 350 | 625 | 468750 | 2437.5 | m3 | 140 zitplaatsen | 1 | CNC wire cutting machine | Edge Sweet VPX 50-88 Vertical CNC Blade Contour Saw |  | 2 | 6 | 50000 | 300000
Entree Links + rechts | 280 | m2 | 275 | 350 | 625 | 175000 | 910 | m3 |  | 2 | Panel sizing center | Gabbiani g 2 or similar, 3.2m x1.2m |  | 2 | 6 | 50000 | 300000
Kantoorvloer 224 werkplekken | 3570 | m2 | 275 | 350 | 625 | 2231250 | 11602.5 | m3 | 16 vergaderzalen | 1 | Gantry Robot | SCM flexstore hp 6m x 1.2m end effector capacity |  | 1 | 3 | 85000 | 255000
[7 empty] | 19012.5 |  | 4 sanitaire zones met: 4 toiletten, 1 urinoir, 2 wasbakken | 2 | Gantry Robot | SCM flexstore hp 3.2m x 1.2m end effector capacity |  | 1 | 3 | 65000 | 195000
[9 empty] | 4 overige ruimtes | 1 | Portal panel lifting system | SCM flexstore hp 3.2m x 1.2m end effector capacity |  | 1 | 3 | 200000 | 600000
1e verdieping kantoor (5e verdieping) | [9 empty] | 1-2 | AGV | EK Robotics SMART MOVE L16 |  | 2 | 6 | 67500 | 405000
kantoor (volledig) | 2765 | m2 | 0 | 0 |  |  | 8986.15 | m3 | [6 empty] | 0 |  | 0
Conferentiezaal 50 personen | 197 | m2 | 275 | 500 | 775 | 152675 | 640.25 | m3 | inclusief sanitaire zone: 5 toiletten + 2 wasbakken |  | Gluing |  |  |  | 0 |  | 0
Sportschool 30 personen | 197 | m2 | 275 | 500 | 775 | 152675 | 640.25 | m3 | inclusief sanitaire zone: 4 douches, 2 toiletten, 1 wasbak | 3 | Vertical hydraulic press | TimberPress X 100, capacity up to 14m x 3.2m x 0.3m |  | 3 | 9 | 2000000 | 18000000
Conferentiezaal 25 personen | 49 | m2 | 275 | 500 | 775 | 37975 | 159.2 | m3 |  | 4 | Friction press and feeding system | Upscale WEINIG ProfiPress T HD EPS board assembly, capacity up to 14m x 3.2m x 0.03m |  | 1 | 3 | 100000 | 300000
Conferentiezaal 25 personen | 49 | m2 | 275 | 500 | 775 | 37975 | 159.2 | m3 |  | 5 | Friction press and feeding system | Upscale WEINIG ProfiPress T EPS panel assembly, capacity up to 14m x 3.2m x 0.03m |  | 1 | 3 | 50000 | 150000
Kantine met 2 keukens | 750 | m2 | 175 | 350 | 525 | 393750 | 2437.5 | m3 | 140 zitplaatsen | 4 | Hot Melt System | TBC ProBlue Liberty® Hot Melt System |  |  | 0
Entree Links + rechts | 280 | m2 | 175 | 350 | 525 | 147000 | 910 | m3 |  | 5 | Adhesive taping system | TBC T2C Applycut Automatic adhesive tape applicator |  |  | 0
Kantoorvloer 96 werkplekken | 1243 | m2 | 275 | 350 | 625 | 776875 | 4039.75 | m3 | 4 vergaderzalen | 6 | Vacuum loader | Joulin Aero gantry Robot, Capacity up to 14m x 3.2m. Weight = 800 Kg |  | 1 | 3 | 500000 | 1500000
[9 empty] | 2 sanitaire zones met: 4 toiletten, 1 urinoir, 2 wasbakken | 6 | Gluing portal | Oest polyurethane gluing portal. Capacity up to 14m x 3.2m |  | 1 | 3 | 400000 | 1200000
2e verdieping kantoor (6e verdieping) | [9 empty] | 6 | Overhead travelling crane | ABUS Crane 5T |  | 2 | 6 | 100000 | 600000
kantoor (volledig) | 2765 | m2 | 0 | 0 | 0 |  | 8986 | m3 | [6 empty] | 0 |  | 0
Kantine met 2 keukens | 750 | m2 | 175 | 350 | 525 | 393750 | 2437.5 | m3 | 140 zitplaatsen |  | CNC cutting section |  |  |  | 0 |  | 0
Entree Links + rechts | 280 | m2 | 175 | 350 | 525 | 147000 | 910 | m3 |  | 7 | CNC centre | SCM area XL. Capacity up to 14m x 3.2m |  | 4 | 12 | 950000 | 11400000
Conferentiezaal links 40 personen | 245 | m2 | 275 | 500 | 775 | 189875 | 796.25 | m3 |  | 7 | Overhead travelling crane | ABUS Crane 5T |  | 2 | 6 | 100000 | 600000
Ontvangst conferentie links | 259 | m2 | 275 | 500 | 775 | 200725 | 841.75 | m3 | Inlusief sanitaire zone: 4 toiletten, 1 urinoir, 2 wasbakken | 7 | AGV Forklift | EK Robotics SMART MOVEL 16AC |  | 6 | 18 | 100000 | 1800000
[9 empty] | Inclusief pantry luxe uitstraling |  | Reinforcement and lifter section |  |  |  | 0 |  | 0
Conferentiezaal rechts 40 personen | 245 | m2 | 275 | 500 | 775 | 189875 | 796.25 | m3 | Inlusief sanitaire zone: 4 toiletten, 1 urinoir, 2 wasbakken | 8 | Beam storage and cutting | Weinmann STORETEQ, Capacity up to 4m x 0.25m |  | 1 | 3 | 150000 | 450000
Ontvangst conferentie rechts | 259 | m2 | 275 | 500 | 775 | 200725 | 841.75 | m3 | Inlusief sanitaire zone: 4 toiletten, 1 urinoir, 2 wasbakken | 9 | Nailing bridge | Weinmann FRAMETEQ combi wall system. Capacity up to 12m x 3.2m |  | 2 | 6 | 500000 | 3000000
[9 empty] | Inclusief pantry luxe uitstraling | 8 | Beam handling system | Weinmann FEEDTEQ handling, Capacity up to 4m x 0.25m |  | 2 | 6 | 65000 | 390000
9 Hotelkamers links | 378 | m2 | 175 | 350 | 525 | 198450 | 1228.5 | m3 | Inlcusief douche, toilet en wasbak | 9 | Jib Crane | Granada "Vetter" Slewing Jib & lifting frame |  | 2 | 6 | 10000 | 60000
9 Hotelkamers rechts | 378 | m2 | 175 | 350 | 525 | 198450 | 1228.5 | m3 | Inclusief douche, toilet en wasbak | 8 | Double-rail crane system | DEMAG Process (Heavy) or KBK (Light) inc steelwork. |  | 1 | 3 | 200000 | 600000
Entree kantoor (peil = 0) | [10 empty] | Mesh base coat section |  |  |  | 0 |  | 0
Ontvangst | 136.85 | m2 | 275 | 350 | 625 | 85531.25 | 3700 | m3 | Inclusief 3 liften van 21 meter | 10 | Mesh laying bridge | Weinmann WMS 170 Plaster. Capacity up to 12m x 3.2m |  | 2 | 6 | 500000 | 3000000
Parkeergarage exterieur (3 verdiepingen) | [9 empty] | 10 | Overhead travelling crane | ABUS Crane 5T |  | 1 | 3 | 100000 | 300000
Parkeergarage totaal | 9000 | m2 | 175 | 100 | 275 | 2475000 | 27000 | m3 | Inclusief lift en laadpalen (aanname) |  | Decoration section |  |  |  | 0 |  | 0
[10 empty] | 11 | Mortar application gantry | Height 4m, Y:0-3.2m |  | 2 | 6 | 65000 | 390000
TOTAAL BUDGETRAMING | 231663.85 | m2 |  |  |  | 38310656.25 |  |  | excl. Engineering, BREEAM, Sprinkler, zonnepanelen en Automatisering | 12 | Delta robot | ABB IRB 360-1/1600 |  | 18 | 54 | 30000 | 1620000
[10 empty] | 12 | Machine vision system | Tiles layup Coordination between 6 feeding conveyors and 3 tiles laying robots |  | 4 | 12 | 40000 | 480000
Engineering is ca. 10% van totaal investeringsbedrag E + W installaties | [9 empty] | 13 | Vertical laying station | Cladding and corner tiles layup Scaffold that can slide on rails |  | 4 | 12 | 10000 | 120000
Engineering = opstellen Voorlopig Ontwerp (VO), Definitief Ontwerp (DO) en Uitvoerings Ontwerp (UO) | [9 empty] | 12 | EMS system | Tile cassette feeding system fro stock to station |  | 1 | 3 | 300000 | 900000
Geschatte budgetraming voor de Engineering is € 4 miljoen. | [5 empty] | 4000000 |  |  |  | 14 | 6 Axis Robot | KR 10 R900 WP |  | 4 | 12 | 80000 | 960000
[6 empty] | 42310656.25 |  |  |  | 14 | 2 Axis Trolley | X: 0-12m, Z: 0.5-3m |  | 2 | 6 | 120000 | 720000
Eventuele duurzaamheidsambities (BREEAM, LEED etc.) zijn niet meegenomen in deze kostenopgave | [9 empty] | 14 | Vision system | 3D reconstruciton of the facade surface to check were the plaster rendering is applied |  | 2 | 6 | 100000 | 600000
BREEAM Excellent = Prijs + 12% | [9 empty] | 11 | Overhead travelling crane | ABUS Crane 5T |  | 1 | 3 | 100000 | 300000
BREEAM Outstanding is Prijs + 25% | [9 empty] | 11-12-13-14 | Actuation for the roller skate/arm holding system | TBC chain system |  | 3 | 9 | 100000 | 900000
Bovenstaande verhoging is inclusief aanvullende eisen m.b.t. de installatie en kosten Assessor, Expert, Ecoloog, Peutz o.g. etc. etc. | [10 empty] | Aperture Lining Box section |  |  |  | 0 |  | 0
[10 empty] | 18 | Robot loading (large) | KR240r2900-2 |  | 2 | 6 | 150000 | 900000
Sprinkler installatie is niet meegenomen wel benodigd in dit gebouw. |  |  |  | Indicatie centrale voorzieningen ca. €1,000,000,- Leidingnet ca. € 50,-/m2 (afhankelijk van gevarenklasse) | [5 empty] | 16 | Robot loading (small) | KR20r3100 |  | 2 | 6 | 50000 | 300000
[10 empty] | 17 | Robot Stapling (small) (ceiling mount) | KR20Rr3100 |  | 2 | 6 | 50000 | 300000
Prijsrange W-installaties Productie € 75,- / € 150,- per m2 | [9 empty] | 16 | 7th Axis | KL8500-2 |  | 4 | 12 | 100000 | 1200000
Prijsrange E-installaties Productie € 75,- / € 95,- per m2 | [9 empty] | 17 | 7th Axis (ceiling mount) | KL8500-2 |  | 4 | 12 | 100000 | 1200000
[10 empty] | 15 | Lifter system for material transfer | TBC: 2mx 3m; 1000kg capactiy |  | 2 | 6 | 100000 | 600000
[10 empty] | 15 | Mezzanine floor for Mitre sawing & milling. | TBC cost per M2 |  | 1 | 3
[10 empty] | 15 | Mitre sawing & and milling system | SCM - new system TBC Needs to handle two types of profile. |  | 2 | 6 | 200000 | 1200000
[10 empty] | 15 | Input Conveyor from mitre sawing/milling | TBC - SCM? |  | 2 | 6 | 60000 | 360000
[10 empty] | 15 | Small gripper for cut pieces | TBC |  | 2 | 6 | 50000 | 300000
[10 empty] | 18 | Large gripper (2.4m x 1.2m Windows) | TBC |  | 2 | 6 | 60000 | 360000
[10 empty] | 17 | Staple gun EOAT | ITW Tool Matic S560 |  | 2 | 6 | 20000 | 120000
[10 empty] | 16-17-18 | Robot EOAT change systems | Walther Prazision Toolmaster 500 91489 (various types) |  | 2 | 6 | 20000 | 120000
[10 empty] | 16 | Assembly table with moving clamps | Bespoke - Festo valves, slides & clamps. |  | 6 | 18 | 40000 | 720000
[10 empty] | 16-17-18 | Vision / sensing system | TBC |  | 6 | 0 |  | 0
[10 empty] | 18 | Put down stand for completed boxes | Bespoke - Festo valves, slides & clamps. |  | 2 | 6 | 10000 | 60000
[10 empty] | 16-17-18 | Fenceline equipment, safety & system integration. | Sick scanners, Sick light curtains, Rise/fall doors, Bosch EcoSafe fencing,Fortress interlock gates, safety PLCs |  |  |  | ??? TBC
[15 empty] | 0 |  | 0
[11 empty] | Window & Door section |  |  |  | 0 |  | 0
[10 empty] | 19-20-21 | Machine vision system | INSPHERE IONA x too expensive (plus still at beta stage)"£150k for a single floor mounted robot (3m arm radius) - therfore 150k x 4 for each14m track £600k) |  | 14 | 42 | 150000 | 6300000
[10 empty] | 19-20-21 | AGV | Plus WEWO Techmotion AGV |  |  | 0 |  | 0
[10 empty] | 19 | Robot Loading | KR240r3100k |  | 4 | 12 | 150000 | 1800000
[10 empty] | 19 | 7th Axis | KL14500-2 |  | 4 | 12 | 100000 | 1200000
[10 empty] | 19 | Small gripper (doors) | Tuenkers |  | 4 | 12 | 100000 | 1200000
[10 empty] | 19 | Large gripper (2.4m x 1.2m Windows) | Tuenkers |  | 4 | 12 | 150000 | 1800000
[10 empty] | 19 | Robot EOAT change systems | Walther Prazision Toolmaster 500 91489 (various types) |  | 4 | 12 | 20000 | 240000
[10 empty] | 19 | Static sealant system (fixed on stand) | SCA twin barrel pumps & 1K050DL_450 Static nozzle (swirl) & Stand. |  | 4 | 12 | 50000 | 600000
[10 empty] | 20 | Robot Screwing | KR120r3100 |  | 4 | 12 | 110000 | 1320000
[10 empty] | 20 | Robot screwing EOAT | Proposed EOAT 4-off Makita 75mm screw guns on a combined bracket and auto switches. |  | 4 | 12 | 50000 | 600000
[10 empty] | 20 | 7th Axis | KL14500-2 |  | 6 | 18 | 100000 | 1800000
[10 empty] | 19-20-21 | Double-rail crane system | DEMAG Process (Heavy) or KBK (Light) inc steelwork. |  | 1 | 3 | 200000 | 600000
[10 empty] | 19-20-21 | Overhead travelling crane | ABUS Crane 5T |  | 1 | 3 | 100000 | 300000
[10 empty] | 19-20-21 | Fenceline equipment, safety & system integration. | Sick scanners, sick light curtains, Bosch EcoSafe fencing,fortress interlock gates, safety PLC.
[10 empty] | 19-20-21 | Actuation for the roller skate/arm holding system | TBC chain system |  | 2 | 6 | 100000 | 600000
[15 empty] | 0 |  | 0
[11 empty] | Bird and Bat Habs section |  |  |  | 0 |  | 0
[10 empty] | 22 | Vertical laying station | Scaffold that can slide on rails |  | 2 | 6 | 10000 | 60000
[15 empty] | 0 |  | 0
[11 empty] | Wiring section |  |  |  | 0 |  | 0
[10 empty] | 23 | Vertical laying station | Scaffold that can slide on rails |  | 3 | 9 | 10000 | 90000
[10 empty] | 23 | Overhead travelling crane | ABUS Crane 5T |  | 1 | 3 | 100000 | 300000
[11 empty] | Quality check section |  |  |  | 0 |  | 0
[10 empty] | 24 | Vertical laying station | Scaffold that can slide on rails |  | 2 | 6 | 10000 | 60000
[10 empty] | 24 | Machine vision system | 3D reconstruction of the facade surface to look for any missalignement or missing element TBC |  | 2 | 6 | 100000 | 600000
[15 empty] | 0 |  | 0
[11 empty] | To Storage |  |  |  | 0 |  | 0
[10 empty] | 25 | Overhead travelling crane | ABUS Crane 5T |  | 2 | 6 | 100000 | 600000
[10 empty] | 25 | AGV | Italcarrelli MULTIDIRECTIONAL SIDELOADER |  | 6 | 18 | 270000 | 4860000
[11 empty] | Reworking area |  |  |  | 0 |  | 0
[11 empty] | Overhead travelling crane | ABUS Crane 5T |  | 2 | 6 | 100000 | 600000
[11 empty] | Testing equipment | No information available |  |  | 0 |  | 200000
[11 empty] | Tools and repair bench | No information available |  |  | 0 |  | 50000
[11 empty] | AGV Forklift | EK Robotics SMART MOVEL 16AC |  | 2 | 6 | 100000 | 600000
[15 empty] | 0 |  | 0
[16 empty] | Total machine and robot | 122944500

## Break Even
Break even calculation
| Income |  |  |  | Expenses
[6 empty] | Scenario 1 - Full ownership of the factory |  | Scenario 2 - Rent of the factory
| Year | Average sales price per unit | Number of units sold | Total income | Year | Capital costs ex. financing | Capital costs incl. financing | Capital costs ex. financing | Capital costs incl. financing
| 1 | 53601.1039 | 5000 | 268005519.2546 | 1 | 19434323.6478 | 61492476.0889 | 31359772.6478 | 59850779.1402
| 2 | 54673.1259 | 7500 | 410048444.4596 | 2 | 19434323.6478 | 61492476.0889 | 31359772.6478 | 59850779.1402
| 3 | 55766.5884 | 10000 | 557665884.465 | 3 | 19434323.6478 | 61492476.0889 | 31359772.6478 | 59850779.1402
| 4 | 56881.9202 | 12500 | 711024002.6929 | 4 | 19434323.6478 | 61492476.0889 | 31359772.6478 | 59850779.1402
| 5 | 58019.5586 | 15000 | 870293379.2961 | 5 | 19434323.6478 | 61492476.0889 | 31359772.6478 | 59850779.1402
| 6 | 59179.9498 | 15000 | 887699246.882 | 6 | 19434323.6478 | 61492476.0889 | 31359772.6478 | 59850779.1402
| 7 | 60363.5488 | 15000 | 905453231.8197 | 7 | 19434323.6478 | 61492476.0889 | 31359772.6478 | 59850779.1402
[6 empty] | Scenario 1 - Full ownership of the factory |  | Scenario 2 - Rent of the factory
| Inflation | 2 | % |  | Year | Fixed costs ex. financing | Fixed costs incl. financing | Fixed costs ex. financing | Fixed costs incl. financing
[5 empty] | 1 | 37547175 | 37547175 | 37547175 | 37547175
[5 empty] | 2 | 38298118.5 | 38298118.5 | 38298118.5 | 38298118.5
| Scenario 2 - rent of the factory |  |  |  | 3 | 39064080.87 | 39064080.87 | 39064080.87 | 39064080.87
[5 empty] | 4 | 39845362.4874 | 39845362.4874 | 39845362.4874 | 39845362.4874
[5 empty] | 5 | 40642269.7371 | 40642269.7371 | 40642269.7371 | 40642269.7371
[5 empty] | 6 | 41455115.1319 | 41455115.1319 | 41455115.1319 | 41455115.1319
[5 empty] | 7 | 42284217.4345 | 42284217.4345 | 42284217.4345 | 42284217.4345
[6 empty] | Scenario 1 - Full ownership of the factory |  | Scenario 2 - Rent of the factory
[5 empty] | Year | Variable costs ex. financing | Variable costs incl. financing | Variable costs ex. financing | Variable costs incl. financing
- of which: Sales costs
[5 empty] | 1 | 5000000 | 5000000 | 5000000 | 5000000
[5 empty] | 2 | 7650000 | 7650000 | 7650000 | 7650000
[5 empty] | 3 | 10400000 | 10400000 | 10400000 | 10400000
[5 empty] | 4 | 13250000 | 13250000 | 13250000 | 13250000
[5 empty] | 5 | 16200000 | 16200000 | 16200000 | 16200000
[5 empty] | 6 | 16500000 | 16500000 | 16500000 | 16500000
[5 empty] | 7 | 16800000 | 16800000 | 16800000 | 16800000
[5 empty] | Year | Variable costs ex. financing | Variable costs incl. financing | Variable costs ex. financing | Variable costs incl. financing
- of which: On-site mounting costs
[5 empty] | 1 | 46097095.0529 | 46097095.0529 | 46097095.0529 | 46097095.0529
[5 empty] | 2 | 70067584.4804 | 70067584.4804 | 70067584.4804 | 70067584.4804
[5 empty] | 3 | 94960015.8089 | 94960015.8089 | 94960015.8089 | 94960015.8089
[5 empty] | 4 | 120774389.0386 | 120774389.0386 | 120774389.0386 | 120774389.0386
[5 empty] | 5 | 147510704.1692 | 147510704.1692 | 147510704.1692 | 147510704.1692
[5 empty] | 6 | 152120413.6745 | 152120413.6745 | 152120413.6745 | 152120413.6745
[5 empty] | 7 | 154886239.3777 | 154886239.3777 | 154886239.3777 | 154886239.3777
[5 empty] | Year | Variable costs ex. financing | Variable costs incl. financing | Variable costs ex. financing | Variable costs incl. financing
- of which: Outbound logistics costs
[5 empty] | 1 | 2377500 | 2377500 | 2377500 | 2377500
| Scenario 2 - rent of the factory |  |  |  | 2 | 3637575 | 3637575 | 3637575 | 3637575
[5 empty] | 3 | 4945200 | 4945200 | 4945200 | 4945200
[5 empty] | 4 | 6300375 | 6300375 | 6300375 | 6300375
[5 empty] | 5 | 7703100 | 7703100 | 7703100 | 7703100
[5 empty] | 6 | 7845750 | 7845750 | 7845750 | 7845750
[5 empty] | 7 | 7988400 | 7988400 | 7988400 | 7988400
[5 empty] | Year | Variable costs ex. financing | Variable costs incl. financing | Variable costs ex. financing | Variable costs incl. financing
- of which: Manufacturing costs
[5 empty] | 1 | 2099460 | 2099460 | 2099460 | 2099460
[5 empty] | 2 | 3212173.8 | 3212173.8 | 3212173.8 | 3212173.8
[5 empty] | 3 | 4366876.8 | 4366876.8 | 4366876.8 | 4366876.8
[5 empty] | 4 | 5563569 | 5563569 | 5563569 | 5563569
[5 empty] | 5 | 6802250.4 | 6802250.4 | 6802250.4 | 6802250.4
[5 empty] | 6 | 6928218 | 6928218 | 6928218 | 6928218
[5 empty] | 7 | 7054185.6 | 7054185.6 | 7054185.6 | 7054185.6
[5 empty] | Year | Variable costs ex. financing | Variable costs incl. financing | Variable costs ex. financing | Variable costs incl. financing
- of which: Material costs
[5 empty] | 1 | 128606700 | 128606700 | 128606700 | 128606700
[5 empty] | 2 | 196768251 | 196768251 | 196768251 | 196768251
[5 empty] | 3 | 267501936 | 267501936 | 267501936 | 267501936
[5 empty] | 4 | 340807755 | 340807755 | 340807755 | 340807755
[5 empty] | 5 | 416685708 | 416685708 | 416685708 | 416685708
[5 empty] | 6 | 424402110 | 424402110 | 424402110 | 424402110
[5 empty] | 7 | 432118512 | 432118512 | 432118512 | 432118512
[5 empty] | Year | Variable costs ex. financing | Variable costs incl. financing | Variable costs ex. financing | Variable costs incl. financing
- of which: Engineering costs
[5 empty] | 1 | 2850000 | 2850000 | 2850000 | 2850000
[5 empty] | 2 | 4360500 | 4360500 | 4360500 | 4360500
| Scenario 1 - Full ownership of the factory |  |  |  | 3 | 5928000 | 5928000 | 5928000 | 5928000
[5 empty] | 4 | 7552500 | 7552500 | 7552500 | 7552500
[5 empty] | 5 | 9234000 | 9234000 | 9234000 | 9234000
[5 empty] | 6 | 9405000 | 9405000 | 9405000 | 9405000
[5 empty] | 7 | 9576000 | 9576000 | 9576000 | 9576000
[5 empty] | Year | Variable costs ex. financing | Variable costs incl. financing | Variable costs ex. financing | Variable costs incl. financing
- of which: Inventory costs
[5 empty] | 1 | 24144641.3743 | 24144641.3743 | 24144641.3743 | 24144641.3743
[5 empty] | 2 | 36941301.3027 | 36941301.3027 | 36941301.3027 | 36941301.3027
[5 empty] | 3 | 50220854.0585 | 50220854.0585 | 50220854.0585 | 50220854.0585
[5 empty] | 4 | 63983299.6419 | 63983299.6419 | 63983299.6419 | 63983299.6419
[5 empty] | 5 | 78228638.0527 | 78228638.0527 | 78228638.0527 | 78228638.0527
[5 empty] | 6 | 79677316.5352 | 79677316.5352 | 79677316.5352 | 79677316.5352
[5 empty] | 7 | 81125995.0176 | 81125995.0176 | 81125995.0176 | 81125995.0176
[6 empty] | Scenario 1 - Full ownership of the factory |  | Scenario 2 - Rent of the factory
[5 empty] | Year | Total costs ex. financing | Total costs incl. financing | Total costs ex. financing | Total costs incl. financing
[5 empty] | 1 | 268156895.0749 | 310215047.5161 | 280082344.0749 | 308573350.5673
[5 empty] | 2 | 380369827.7308 | 422427980.172 | 392295276.7308 | 420786283.2232
[5 empty] | 3 | 496821287.1852 | 538879439.6264 | 508746736.1852 | 537237742.6776
[5 empty] | 4 | 617511573.8156 | 659569726.2568 | 629437022.8156 | 657928029.308
[5 empty] | 5 | 742440994.0068 | 784499146.448 | 754366443.0068 | 782857449.4992
[5 empty] | 6 | 757768246.9893 | 799826399.4305 | 769693695.9893 | 798184702.4817
[5 empty] | 7 | 771267873.0776 | 813326025.5188 | 783193322.0776 | 811684328.57
Scenario 1 - Full ownership of the factory
Gross profit
[6 empty] | Scenario 1 - Full ownership of the factory |  | Scenario 2 - Rent of the factory
[5 empty] | Year | ex. financing | incl. financing | ex. financing | incl. financing
[5 empty] | 1 | -151375.8203 | -42209528.2615 | -12076824.8203 | -40567831.3127
[5 empty] | 2 | 29678616.7288 | -12379535.7124 | 17753167.7288 | -10737838.7636
[5 empty] | 3 | 60844597.2798 | 18786444.8386 | 48919148.2798 | 20428141.7874
[5 empty] | 4 | 93512428.8773 | 51454276.4361 | 81586979.8773 | 53095973.3849
[5 empty] | 5 | 127852385.2893 | 85794232.8481 | 115926936.2893 | 87435929.7969
[5 empty] | 6 | 129930999.8927 | 87872847.4515 | 118005550.8927 | 89514544.4003
[5 empty] | 7 | 134185358.7421 | 92127206.3009 | 122259909.7421 | 93768903.2497